In-Gel Digest Protocol

Gel pieces should be diced and submerged in deionized (DI) water. All solvents used for the following steps must be LC-MS grade and salts high-purity.

If you are processing in-gel samples yourself, you must be a trained user with the BMSP shared resource. Please contact Anna Schmoker (Anna.M.Schmoker@dartmouth.edu) if you have any questions.

Gel Destaining

- Remove DI water to waste.

- Wash gel pieces with 50 μL of 25 mM AmBic (ammonium biocarbonate)/50% ACN (acetonitrile) for 30 minutes with agitation.

- Discard supernatant.

- Repeat wash with 50 μL 25mM AmBic/50% ACN until gel pieces are completely destained. Strongly stained samples may require an overnight incubation at 4 C.

- Dehydrate with 100% ACN. Freeze at -80 C or move on to the next step.

Reduction/Alkylation

- Add 100 μL (or enough to completely submerge gel pieces) of 10 mM DTT in 25mM AmBic to each tube, vortex briefly and incubate for 30 minutes at room temperature.

- Discard supernatant.

- Add 100 μL (or enough to completely submerge gel pieces) of 55 mM iodoacetamide in 25mM AmBic (7.39 mg IA in 2 mL, made immediately before use) to each tube, vortex and incubate for 45 minutes at room temperature in the dark.

- Discard supernatant.

- Wash gel pieces with 25mM AmBic (enough volume to completely cover pieces) for 10 minutes.

- Discard supernatant.

- Dehydrate gel pieces with 100% ACN.

- Discard supernatant.

- Repeat steps 7-8 if gel pieces are not dehydrated yet.

- Repeat steps 5-9.

- Freeze at -80 C or move on to the next step.

Digestion

- Add trypsin (15 ng/µL in 25mM AmBic) to each sample, ensuring the volume of trypsin completely covers the gel pieces.

  - Do not exceed 100 µL of 15 ng/µL trypsin. If 100 µL doesn't cover the gel pieces, add up to 100 µL of 25mM AmBic.

- Incubate for 30 minutes at 37ºC.

- After 30 minutes, the gel pieces will have swelled. Add more AmBic to each tube, enough to ensure the pieces are still completely submerged.

- Incubate digestion overnight at 37ºC.

Peptide Extraction

- Transfer digest supernatant to new tubes. Your peptides are now in the supernatant!

- To gel pieces, add 100 μL (or enough to cover) of 50% ACN:1% FA (formic acid). Centrifuge gel samples for 15 minutes at top speed.

- Combine the supernatant with the samples from step 1.

- To gel pieces, add 100 μL (or enough to cover) of 100% ACN and incubate for 10 min.

- Combine the supernatant with the samples from steps 1 and 3.

- Repeat step 4 if gel pieces are not completely dehydrated.

- Freeze to submit for LCMS. If available, dry collected supernatants completely with a vacuum centrifuge prior to freezing.