## Slide 1
Brain Death Scintigraphy:
Diagnosis with Examples
Jeffrey Jones, MD

## Slide 2: Brain Death Scintigraphy
Role:
  Determine if there is cerebral blood flow
Brain without a blood supply is dead
  Elevated ICP from tissue edema or mass exceeds systemic arterial pressure  no intracranial blood flow  brain death
Radiotracers used at DHMC (Lipophilic type)
  radiotracer flows to brain  diffuses across blood brain barrier  extracted by brain tissue and trapped
  Types
      Tc-99m HMPAO (Ceretec®)
      Tc-99m ethylene cysteinate dimer (ECD) (Neurolite ®)

## Slide 3: DHMC Brain Death Protocol
Patient preparation
  None, prefer not hypothermic
Radiopharmaceutical
  Technetium-99m HMPAO or ECD
Instrumentation
  gamma camera with low energy all purpose parallel hole collimator
Procedure
  Head in anterior projection
  Dose administered
  Imaging started 15-30 minutes later
  SPECT imaging of head performed for 20 minutes
  Reformats created in axial, sagittal, and coronal planes

## Slide 4: Generalized Findings
“Normal”:
  Symmetric uptake in all portions of brain
Brain injury (not brain dead):
  Patchy areas of absent or diminished uptake
Brain Death Findings:
  No radiotracer uptake in ALL portions of the brain including the cerebellum and brainstem
  “Empty box” appearance

## Slide 5
Examples

## Slide 6
Brain Death
- Patient 1
No intracranial blood flow or radiotracer uptake in all regions of the brain
Expected extra cranial scalp, skull base, and soft tissue activity which is increased in brain death (shunting of blood)

## Slide 7: Brain Death - Patient 2

## Slide 8: Brain Death – Patient 3

## Slide 9
Brain Injury
Patient 1
There are multiple scattered focal perfusion defects within the brain (but there is cerebral perfusion)

## Slide 10: Brain Injury -Patient 2 Focal perfusion defect in the right cerebellar hemisphere

## Slide 11: “Normal” Symmetric cerebral perfusion with no focal defects

## Slide 12: Sample Brain Death Dictation

## Slide 13: References
Conrad GR et al: Scintigraphy as a confirmatory test of brain death. Semin Nucl Med. 33(4):312-23, 2003
Donohoe KJ et al: SNM practice guideline for brain death scintigraphy 2.0. J Nucl Med. 40(3):198-203, 2012
StatDx®