## Pediatric Protocol parameters
Protocol | Standing Indications | mA Weight Based | kV Weight Based | GE Pitch | Seimens Pitch | GE Rotation | Seimens Rotation | GE Noise Index | GE asir or equivalent | Seimens CARE Dose4D | Patient Size | Noncon | Dual Energy Option | Coverage | IV Con. Rate (Volume) | Contrast Phase | GE Series | Seimens Series | Notes
Chest with Contrast CTA |  | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 13 | 60 | Weak | Weight Based | N/A | No | Lung Apices - Upper Abdomen | Per PEDS contrast protocol 1mL/1kg up to 75cc | Arterial (Smart prep descending aorta) | Scout Acquisition 2.5 mm ax std Recons 1.25 mm ax lung 2 x 2 mm sag/cor std 5 x 2 ax lung MIPS 15 x 2 ax std MIPS | Scout Acquisition 3.0 mm ax std Recons 1.25 mm ax lung 2 x 2 mm sag/cor std 5 x 2 ax lung MIPS 15 x 2 ax std MIPS | FOV patient dependent
Chest with Contrast CT-PE |  | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 13 | 60 | Weak | Weight Based | N/A | No | Lung Apices - Upper Abdomen | Per PEDS contrast protocol 1mL/1kg up to 75cc | Arterial (Smart prep main pulmonary aorta) | Scout Acquisition 2.5 mm ax std Recons 1.25 mm ax lung 2 x 2 mm sag/cor std 5 x 2 ax lung MIPS 15 x 2 ax std MIPS | Scout Acquisition 3.0 mm ax std Recons 1.25 mm ax lung 2 x 2 mm sag/cor std 5 x 2 ax lung MIPS 15 x 2 ax std MIPS | FOV patient dependent
Chest with Contrast (PV) |  | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | Same technical parameters without contrast | No | Lung Apices - Upper Abdomen | Per PEDS contrast protocol 1mL/1kg up to 50cc | Portal venous 70 seconds after start of power injection or 15 seconds following start of hand injection | Scout Acquisition 2.5 mm ax std Recons 1.25 mm ax lung 5 x 2 mmlung MIPs 2 x 2 mm sag/cor std | Scout Acquisition 3.0 mm ax std Recons 1.25 mm ax lung 5 x 2 mmlung MIPs 2 x 2 mm sag/cor std
Chest WITHOUT Contrast (Low Dose) |  | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 90, >50 kg: 90 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Very Weak | Weight based | Same technical parameters without contrast | No | Lung Apices - Upper Abdomen | N/A | N/A | Scout Acquisition 2.5 mm ax std Recons 1.25 mm ax lung 5 x 2 mmlung MIPs 2 x 2 mm sag/cor std | Scout Acquisition 3.0 mm ax std Recons 1.25 mm ax lung 5 x 2 mmlung MIPs 2 x 2 mm sag/cor std
Chest - ILD | Fibrosis, ILD, restrictive lung disease, abnormal diffusion | <15 kg: 50-300, 15 - 50 kg: 50-300, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | N/A | No | Lung Apices - Upper Abdomen | N/A | Inspiratory | Scout Acquisition 2.5 mm ax std 1.25 mm ax lung 2 x 2 mm sag/cor std 5 x 2 ax lung MIPS | Scout Acquisition 3.0 mm ax std Recons 1.25 mm ax lung 2 x 2 mm sag/cor std 5 x 2 ax lung MIPS | Prone inspiratory only if requested by radiologist
|  |  |  | Axial every 20 mm |  | 0.7 | 0.5 | 15.86 | 60 | Weak | [5 empty] | Expiratory | Acquisition 1.25 mm ax std Recons 2 x 2 mm sag/cor std | Acquisition 1.0 mm ax std Recons 2 x 2 mm sag/cor std
|  |  |  | Axial every 40 mm |  | 0.7 | 0.5 | 15.86 | 60 | Weak | [5 empty] | Prone | Acquisition 1.25 mm ax std every 40 mm Recons 2 x 2 mm sag/cor std | Acquisition 1.0 mm ax std every 40 mm Recons 2 x 2 mm sag/cor std
(Trauma) Chest Abdomen Pelvis |  | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | NO | If available | Apices through symphysis pubis | Patient dependent | Chest through renals: 25 sec delay Abdomen pelvis 45 sec delay after Chest scan | Scout Acquisition 2.5 mm ax std 1.25mm axial lung Recons 2 x 2 mm sag/cor std 5mm x 2mm axial lung mips | Scout Acquisition 3.0 mm ax std 1.25mm axial lung Recons 2 x 2 mm sag/cor std 5mm x 2mm axial lung mips
Abdomen Pelvis Lower Extremities with Contrast (CTA Aorta and Bilateral Runoff) | Pulseless leg, blue toes, necrotic lower extremity, bleeding aneurysnm | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight Based |  | If available | Diaphragm to the toes | Per PEDS contrast protocol 1mL/1kg up to 100cc | Arterial (Smartprep above bifurcation) | Scout Acquisition 2.5 mm ax std Recons 2 x 2 mm sag/cor std 15 x 2 ax MIPS | Scout Acquisition 3.0 mm ax std Recons 2 x 2 mm sag/cor std 15 x 2 ax MIPS | FOV patient dependent
Bilateral Lower Extremity runoff with Contrast (CTA Bilateral Runoff) | Pulseless leg, blue toes, necrotic lower extremity, bleeding aneurysnm | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight Based |  | If available | Aortic bifurcation to the toes | Per PEDS contrast protocol 1mL/1kg up to 100cc | Arterial (Smartprep above bifurcation) | Scout Acquisition 2.5 mm ax std Recons 2 x 2 mm sag/cor std 15 x 2 ax MIPS | Scout Acquisition 3.0 mm ax std Recons 2 x 2 mm sag/cor std 15 x 2 ax MIPS | FOV patient dependent
CTA Upper Extremity |  | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 13 | 60 | Very Weak (for above head) Weak (for at side or on abdomen) | Weight Based | Noncontrast portion optional | No | As indicated by order | Per PEDS contrast protocol 1mL/1kg up to 75cc | (Optional) Noncontrast | Scout Acquisition 2.5 mm ax std 2 x 2 mm sag/cor std | Scout Acquisition 3.0 mm ax std 2 x 2 mm sag/cor std | FOV patient dependent
|  |  | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 13 | 60 | Very Weak (for above head) Weak (for at side or on abdomen) | [5 empty] | Arterial (Smartprep at descending aorta) | Acquisition 1.25 mm ax std Recons 2 x 2 mm sag/cor std 15 x 2 mm std MIPS | Acquisition 1.0 mm ax std Recons 2 x 2 mm sag/cor std 15 x 2 mm std MIPS
|  |  | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 13 | 60 | Very Weak (for above head) Weak (for at side or on abdomen) | [5 empty] | (Optional) Delay 40 seconds | Acquisition 1.25 mm ax std Recons 2 x 2 mm sag/cor std | Acquisition 1.0 mm ax std Recons 2 x 2 mm sag/cor std
Abdomen Pelvis with Contrast (Routine PV) | Abscess, Fistula, abdominal pain, appendicitis | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | Same technical parameters without contrast | No | Diaphragm - Lesser Troch | Per PEDS contrast protocol 1mL/1kg up to 100cc | Portal venous 70 seconds after start of power injection or 15 seconds following start of hand injection | Scout Acquisition 2.5 mm ax std Recons 2 x 2 mm sag/cor std | Scout Acquisition 3.0 mm ax std Recons 2 x 2 mm sag/cor std | FOV patient dependent
Abdomen Pelvis WITHOUT Contrast | Abscess, Fistula, abdominal pain, appendicitis | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | Same technical parameters without contrast | No | Diaphragm - Lesser Troch | N/A | N/A | Scout Acquisition 2.5 mm ax std Recons 2 x 2 mm sag/cor std | Scout Acquisition 3.0 mm ax std Recons 2 x 2 mm sag/cor std | FOV patient dependent
Abdomen with Contrast (Adrenal) | Adrenal mass Adenoma Biochemical Abn suggesting adrenal mass | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | N/A | No | Diaphragm to below the Ao bifurcation | Per PEDS contrast protocol 1mL/1kg up to 100cc | Noncontrast | Scout Aquisition 2.5 mm ax std 2 x 2 mm sag/cor std | Scout Aquisition 3.0 mm ax std 2 x 2 mm sag/cor std | FOV patient dependent
[13 empty] | No |  |  | Portal venous 70 seconds after start of power injection or 15 seconds following start of hand injection | Aquisition 2.5 mm ax std Recons 2 x 2 mm sag/cor std | Aquisition 3.0 mm ax std Recons 2 x 2 mm sag/cor std
[13 empty] | No |  |  | 15 min Delay (Washout) | Aquisition 2.5 mm ax std 2 x 2 mm sag/cor std Recons | Aquisition 3.0 mm ax std 2 x 2 mm sag/cor std Recons
Abdomen with Contrast (Liver) | Cirrhosis, Mass, HCC, Post chemoembo or Y90, Hemangioma, Portal vein thrombosis, Cholangioca | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | N/A | No | Diaphragm - iliac crests | Per PEDS contrast protocol 1mL/1kg up to 100cc | Mid to Late Arterial (SMARTPREP AORTA, FOLLOWED BY 15 SEC DELAY ) | Scout Aquisition 2.5 mm ax std 2 x 2 mm sag/cor std | Scout Aquisition 3.0 mm ax std 2 x 2 mm sag/cor std | FOV patient dependent
[13 empty] | No |  |  | Portal venous 70 seconds after start of power injection | Aquisition 2.5 mm ax std Recons 2 x 2 sag/cor std | Aquisition 3.0 mm ax std Recons 2 x 2 sag/cor std
[13 empty] | No |  |  | 5 minute delay | 2.5 mm ax std Recons 2 x 2 sag/cor std | 3.0 mm ax std Recons 2 x 2 sag/cor std
Abdomen with Contrast (Pancreas) | Mass, panc necrosis, pancreatitis | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | N/A | No | Diaphragm - iliac crests | Per PEDS contrast protocol 1mL/1kg up to 100cc | Arterial | Scout Aquisition 2.5 mm ax std 2 x 2 mm sag/cor std | Scout Aquisition 3.0 mm ax std 2 x 2 mm sag/cor std | FOV patient dependent
[13 empty] | No |  |  | Portal venous 70 seconds after start of power injection or 15 seconds following start of hand injection | Recons 2.5 mm ax std 2 x 2 mm sag/cor std | Recons 3.0 mm ax std 2 x 2 mm sag/cor std
Abdomen with Contrast (Renal) | Renal mass, renal cyst evaluation | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | N/A | No | Diaphragm - iliac crests | Per PEDS contrast protocol 1mL/1kg up to 100cc | Noncontrast | Scout Aquisition 2.5 mm ax std 2 x 2 mm cor std | Scout Aquisition 3.0 mm ax std 2 x 2 mm cor std | FOV patient dependent
[13 empty] | No |  |  | Nephrographic 80-90 sec | Aquisition 2.5 mm ax std Recons 2 x 2 sag/cor std | Aquisition 3.0 mm ax std Recons 2 x 2 sag/cor std
[13 empty] | No |  |  | 5 minute delay | Aquisition 2.5 mm ax std Recons 2 x 2 sag/cor std | Aquisition 3.0 mm ax std Recons 2 x 2 sag/cor std
Abdomen Pelvis with Contrast (Urography) | Renal mass, renal cyst evaluation | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | N/A | No | Noncontrast | Per PEDS contrast protocol 1mL/1kg up to 100cc | Noncon | Scout Aquisition 2.5 mm ax std Recons 1.25 mm ax lung 2 x 2 mm sag/cor std | Scout Aquisition 3.0 mm ax std Recons 1.25 mm ax lung 2 x 2 mm sag/cor std | FOV patient dependent
[13 empty] | No | Nephrographic |  | Nephrographic 90 seconds after start of power injection or 35 seconds following start of hand injection | Aquisition 2.5 mm ax std Recons 2 x 2 sag/cor std | Aquisition 3.0 mm ax std Recons 2 x 2 sag/cor std
[13 empty] | No | 10 minute delay |  | 10 minute delay | 2.5 mm ax std Recons 2 x 2 sag/cor std | 3.0 mm ax std Recons 2 x 2 sag/cor std
Abdomen Pelvis with Contrast (Urography SPLIT DOSE) | Renal mass, renal cyst evaluation | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | N/A | No | Noncontrast | Split dose: Per PEDS contrast protocol 1mL/1kg up to 100cc | Noncon | Scout Aquisition 2.5 mm ax std Recons 1.25 mm ax lung 2 x 2 mm sag/cor std | Scout Aquisition 3.0 mm ax std Recons 1.25 mm ax lung 2 x 2 mm sag/cor std | FOV patient dependent
[13 empty] | No | Nephrographic and Delay |  | 1/2 contrast after nonon scan. Nephrographic injection 8 min and 30 seconds after initial injection or seconds after start of power injection or 9 min and 25 seconds seconds after initial injeciion. Delayed scan should then be run 10 min after initial injection. | Aquisition 2.5 mm ax std Recons 2 x 2 sag/cor std | Aquisition 3.0 mm ax std Recons 2 x 2 sag/cor std
No
Pelvis with Contrast | Abscess, Fistula | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | N/A | No | Iliac crests - Lesser Troch | Per PEDS contrast protocol 1mL/1kg up to 100cc | Portal venous | Scout Aquisition 2.5 mm ax std Recons 0.625mmx 0.625mm std and bone 2mm x 2mm sag/cor std and bone | Scout Aquisition 2.5 mm ax std Recons 0.625mmx 0.625mm std and bone 2mm x 2mm sag/cor std and bone | FOV patient dependent
Neck (CTA) | Trauma, Stroke | <15 kg: 50-300, 15 - 50 kg: 50-400, >50 kg: 50-400 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 12.22 | 60 | Weak | Weight based | N/A | No | Aortic Arch to above circle of Willis | Per PEDS contrast protocol 1mL/1kg up to 50cc | Smart prep ascending aorta @ level of carina | Scout Acquisition 1.25 mm ax std Recons 1 x 1 mm sag/cor std, 5 x 2 Ax, Cor, Sag MIPS | Scout Acquisition 1.0 mm ax std 1 x 1 mm sag/cor std, 5 x 2 Ax, Cor, Sag MIPS | FOV patient dependent
Head (CTA) | Trauma, Stroke | <15 kg: 50-300, 15 - 50 kg: 50-400, >50 kg: 100-400 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 12.22 | 60 | Weak | Weight based | N/A | No | C1 to vertex | Per PEDS contrast protocol 1mL/1kg up to 50cc | Smart prep ascending aorta @ level of carina | Scout Acquisition 1.25 mm ax std Recons 1 x 1 mm sag/cor std, 5 x 2 Ax, Cor, Sag MIPS | Scout Acquisition 1.0 mm ax std 1 x 1 mm sag/cor std, 5 x 2 Ax, Cor, Sag MIPS | FOV patient dependent
Head (CTV) | Trauma, Dural venous sinus thrombosis | <15 kg: 50-300, 15 - 50 kg: 50-400, >50 kg: 100-400 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 12.22 | 60 | Weak | Weight based | N/A | No | C1 to vertex | Per PEDS contrast protocol 1mL/1kg up to 50cc | 50 sec after start of power injection | Scout Acquisition 1.25 mm ax std Recons 1 x 1 mm sag/cor std, 5 x 2 Ax, Cor, Sag MIPS | Scout Acquisition 1.0 mm ax std Recons 1 x 1 mm sag/cor std, 5 x 2 Ax, Cor, Sag MIPS | FOV patient dependent
Face with contrast | Infection, Tumor | <15 kg: 50-300, 15 - 50 kg: 50-400, >50 kg: 100-400 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 9 | 60 | Weak | Weight based | N/A | No | Madnible to top of Frontal sinuses | Per PEDS contrast protocol 1mL/1kg up to 50cc | 70 sec after start of power injection; (20sec DELAY IF HAND INJECTION) | Scout Acquisition 1.25 mm ax std Recons 1 x 1 mm sag/cor std and bone | Scout Acquisition 1.0 mm ax std Recons 1 x 1 mm sag/cor std and bone | FOV patient dependent
Face without contrast | Trauma | <15 kg: 50-250, 15 - 50 kg: 50-400, >50 kg: 100-400 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 9 | 60 | Weak | Weight based | N/A | No | Madnible to top of Frontal sinuses | N/A | N/A | Scout Acquisition 1.25 mm ax std Recons 1 x 1 mm sag/cor std and bone | Scout Acquisition 1.0 mm ax std Recons 1 x 1 mm sag/cor std and bone | FOV patient dependent. Can be reconstructed off other studies with included anatomy
C-Spine without contrast | Fracture | <15 kg: 50-300, 15 - 50 kg: 50-400, >50 kg: 50-400 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | N/A | No | Above mastoids to T2 | N/A | N/A | Scout Acquisition 1.25 mm ax std Recons 1mm x 1mm sag/cor std and bone | Scout Acquisition 1.0 mm ax std Recons 1mm x 1mm sag/cor std and bone | FOV patient dependent. Can be reconstructed off other studies with included anatomy
T-Spine without contrast | Fracture | <15 kg: 50-300, 15 - 50 kg: 50-400, >50 kg: 50-400 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 22 | 60 | Weak | Weight based | N/A | No | C5 - L2 | N/A | N/A | Scout Acquisition 1.25 mm ax std Recons 1mm x 1mm sag/cor std and bone | Scout Acquisition 1.0 mm ax std Recons 1mm x 1mm sag/cor std and bone | FOV patient dependent. Can be reconstructed off other studies with included anatomy
L-Spine without contrast | Fracture | <15 kg: 50-300, 15 - 50 kg: 50-400, >50 kg: 50-400 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 22 | 60 | Weak | Weight based | N/A | No | T10 - Mid sacrum | N/A | N/A | Scout Acquisition 1.25 mm ax std Recons 1mm x 1mm sag/cor std and bone | Scout Acquisition 1.0 mm ax std Recons 1mm x 1mm sag/cor std and bone | FOV patient dependent. Can be reconstructed off other studies with included anatomy
Neck with contrast | Infection, Tumor | <15 kg: 50-300, 15 - 50 kg: 50-400, >50 kg: 50-400 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 9 | 60 | Weak | Weight based | N/A | No | Top of frontal sinus to below aortic arch | Per PEDS contrast protocol 1mL/1kg up to 100cc | 85 second delay after start of power injection | Scout Acquisition 2.5 mm ax std Recons 2.0 x 2.0 mm sag/cor std | Scout Acquisition 3.0 mm ax std Recons 2.0 x 2.0 mm sag/cor std | FOV patient dependent
Head without contrast | Trauma, Stroke, seizure, Headache | <15 kg: 50-350, 15 - 50 kg: 50-450, >50 kg: 50-450 | <15 kg:100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 3.8 | 60 | Weak | Weight based | N/A | No | C1 to vertex | N/A | N/A | Scout Acquisition 2.5 mm ax std Recons 2.0 x 2.0 mm sag/cor std and bone | Scout Acquisition 3.0 mm ax std Recons 2.0 x 2.0 mm sag/cor std and bone | FOV patient dependent
Head and Face without contrast | Trauma | <15 kg: 50-250, 15 - 50 kg: 50-400, >50 kg: 100-400 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 9 | 60 | Weak | Weight based | N/A | No | C2 to Vertex | N/A | N/A | Scout Acquisition 1.25 mm ax std Recons 1 x 1 mm sag/cor std and bone | Scout Acquisition 1.0 mm ax std Recons 1 x 1 mm sag/cor std and bone | Build dedicated head and dedicated facial recons
Orbits with contrast | Infection, Tumor | <15 kg: 50-300, 15 - 50 kg: 50-400, >50 kg: 100-400 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 9 | 60 | Weak | Weight based | N/A | No | Bottom of hard palate to top of Frontal sinuses | Per PEDS contrast protocol 1mL/1kg up to 50cc | 70 sec after start of power injection | Scout Acquisition 2.0mm ax std 0.625mm ax bone Recons 1mm x 1mm sag/cor std and bone | Scout Acquisition 2.0mm ax std 0.6mm ax bone Recons 1mm x 1mm sag/cor std and bone | FOV patient dependent. Can be reconstructed off other studies with included anatomy
Orbits without contrast | Trauma | <15 kg: 50-300, 15 - 50 kg: 50-400, >50 kg: 100-400 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 9 | 60 | Weak | Weight based | N/A | No | Bottom of hard palate to top of Frontal sinuses | N/A | N/A | Scout Acquisition 2.0mm ax std 0.625mm ax bone Recons 1mm x 1mm sag/cor std and bone | Scout Acquisition 2.0mm ax std 0.6mm ax bone Recons 1mm x 1mm sag/cor std and bone | FOV patient dependent. Can be reconstructed off other studies with included anatomy
Sinus without contrast | Sinusitis | <15 kg: 50-300, 15 - 50 kg: 50-400, >50 kg: 100-400 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 12.22 | 60 | Very Weak | Weight based | N/A | No | Top of Frontal sinuses thrugh Maxilla | N/A | N/A | Scout Acquisition 1.25 mm ax std 0.625 ax std whole head 0.625 ax bone sinuses only 0.625 ax std sinuses only Recons 2mm x 2mm sag/cor bone sinuses only | Scout Acquisition 1.0 mm ax std 0.6 ax std whole head 0.6 ax bone sinuses only 0.6 ax std sinuses only Recons 2mm x 2mm sag/cor bone sinuses only | FOV patient dependent. Can be reconstructed off other studies with included anatomy
Temporal bone without contrast | Trauma, tinitus, hearing loss, infection, cholesteatoma | <15 kg: 50-300, 15 - 50 kg: 50-500, >50 kg: 100-500 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 9 | 60 | Weak | Weight based | N/A | No | Above mastoid air cells to below mastoid air cells | N/A | N/A | Scout Acquisition 0.625mm 2mm std full fov including bilateral temporal bones 0.625mm x 0.4mm ax bone right and left side individually Recons 0.625mm x 0.4mm sag/cor bone right and left side individually | Scout Acquisition 0.625mm 2mm std full fov including bilateral temporal bones 0.625mm x 0.4mm ax bone right and left side individually Recons 0.625mm x 0.4mm sag/cor bone right and left side individually | Recons with small FOV coronal, sagittal and oblique centered on each middle/inner ear
Temporal bone with contrast | Trauma, tinitus, hearing loss, infection, cholesteatoma | <15 kg: 50-300, 15 - 50 kg: 50-500, >50 kg: 100-500 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 9 | 60 | Weak | Weight based | N/A | No | Above mastoid air cells to below mastoid air cells | Per PEDS contrast protocol 1mL/1kg up to 50cc | 85 second delay after start of power injection | Scout Acquisition 0.625mm 2mm std full fov including bilateral temporal bones 0.625mm x 0.4mm ax bone right and left side individually Recons 0.625mm x 0.4mm sag/cor bone right and left side individually | Scout Acquisition 0.6mm 2mm std full fov including bilateral temporal bones 0.6mm x 0.4mm ax bone right and left side individually Recons 0.6mm x 0.4mm sag/cor bone right and left side individually | Recons with small FOV coronal, sagittal and oblique centered on each middle/inner ear
Head without contrast (low dose bone) | Craniosynostosis or fracture follow-up | <15 kg: 50-200, 15 - 50 kg: 50-200, >50 kg: 50-200 | <15 kg:100, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Very Weak | Weight based | N/A | No | C1 to vertex | N/A | N/A | Scout Acquisition 2.5 mm ax std Recons 2.0 x 2.0 mm sag/cor std and bone | Scout Acquisition 3.0 mm ax std Recons 2.0 x 2.0 mm sag/cor std and bone
Extremity without Contrast (MSK) | Fracture, hardware evaluation | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Very Weak | Weight based | N/A | No | Area of interest per indication | N/A | N/A | Scout Acquisition 2.5 mm ax std Recons 2mm x 2mm sag/cor std and bone | Scout Acquisition 3.0 mm ax std Recons 2mm x 2mm sag/cor std and bone | Upper extremity best if arms up followed by over the chest Use MAR if hardware present
Extremity with Contrast (MSK) | Fracture, hardware evaluation | <15 kg: 50-300, 15 - 50 kg: 50-480, >50 kg: 50-480 | <15 kg: 80, 15 - 50 kg 100, >50 kg: 100 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | Same except noncontrast, only if absolutely needed | No | Area of interest per indication | Per PEDS contrast protocol 1mL/1kg up to 75cc | Portal venous 75 seconds after start of power injection or 20 seconds following start of hand injection | Scout Acquisition 2.5 mm ax std Recons 2mm x 2mm sag/cor std and bone | Scout Acquisition 3.0 mm ax std Recons 2mm x 2mm sag/cor std and bone | Upper extremity best if arms up followed by over the chest Use MAR if hardware present
Knee or ankle without Contrast (MSK) | Fracture, hardware evaluation | <15 kg: 65, 15 - 50 kg: 85, >50 kg: 65 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 120 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Very Weak | Weight based | N/A | No | Area of interest per indication | N/A | N/A | Scout Acquisition 1.25 mm ax std Recons 1mm x 1mm sag/cor std and bone | Scout Acquisition 1.0 mm ax std Recons 1mm x 1mm sag/cor std and bone | Straight, no bend in knee or ankle
Shoulder without Contrast (MSK) | Fracture, hardware evaluation | <15 kg: 80, 15 - 50 kg: 100, >50 kg: 65-200 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 120 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Weak | Weight based | N/A | No | Area of interest per indication | N/A | N/A | Scout Acquisition 1.25 mm ax std Recons 1mm x 1mm sag/cor std and bone | Scout Acquisition 1.0 mm ax std Recons 1mm x 1mm sag/cor std and bone
Wrist or elbow without Contrast (MSK) | Fracture, hardware evaluation | <15 kg: 80, 15 - 50 kg: 100, >50 kg: 65-200 | <15 kg: 100, 15 - 50 kg 100, >50 kg: 120 | 1.375:1 | 1.4:1 | 0.7 | 0.5 | 15.86 | 60 | Very Weak (above head) Weak (at side or on body) | Weight based | N/A | No | Area of interest per indication | N/A | N/A | Scout Acquisition 1.25 mm ax std Recons 1mm x 1mm sag/cor std and bone | Scout Acquisition 1.0 mm ax std Recons 1mm x 1mm sag/cor std and bone | Prone head first with arm over head and elbow bent at 70 deg. Wrists and elbows should not be scanned next to the body unless there is a shoulder or clavicular fracture
Casted Hip MSK | Intraoperative assessment of hip alighnment during reduction surgery | Fixed 15 mA | Fixed 70 kV | 1.375 | 1.4:1 | 0.7 | 0.5 | 9 | 60 | Very Weak | Wight based | N/A | No | Iliac crests to procximal third of femur | N/A | N/A | Scout Acquisition 1.25 mm std Recons 1mm x 1mm axial in plane with femur and ischial tuberosity/sag/cor std and bone | Scout Acquisition 2.0 mm std Recons 1mm x 1mm axial in plane with femur and ischial tuberosity/sag/cor std and bone | Please recon the axial in plane with the femoral head and ischial tuberosity