## updates 9.10.26
CT PROTOCOL UPDATES: 09/10/26
SECTION | CATEGORY | ITEM
BODY | Revised | CTA "aneurysm exams" | use DE when possible and include 55 keV and delay images with VUE when possible (axial series only): if patient can't bring arms overhead or is >40BMI then use single energy--contrast should be reduced to 50% of current weight based contrast but not to go lower than 50cc
| Revised | CTA exams | Change Cor/Sag on CTA exams to 2mm thickness x 1.5mm spacing MIPS
| Revised | Mesenteric ischemia | 3D lab to provide a coronal red iodine map--GE scanners will need to manually create in database if available
| Revised | CTA upper extremity | perform single energy as most patients arms fall out of the dual energy "circle"
| Revised | Rectal contrast | If rectal contrast is ordered, techs may tip patient--done routinely in DX, if any questions or concerns, reach out to body radiologist for assistance--exception: if patient has had rectal surgery within 5 days of requested exam with rectal contrast, surgery team needs to tip patient
| Revised | Stone protocol | if DLIR is available, should be on "medium"
| Revised | CTV lower extremity | scan iliac crest to knees, the cor/sag should be combined from iliac crest to knees and not separated out, use DE and include 55kev when available
| Revised | Pancreas | clarification: bolus track @ supraceliac aorta--100HU, once triggers there is a 20sec delay, followed by a 25sec delay post late arterial phase to capture the PV phase
| Revised | Urograms | no longer give Lasix for this exam, instead patient will receive an upfront 100cc bolus of saline and the remainder of the urogram protocol will remain the same
| Revised | Adrenals | should be single energy, no dual energy
| Revised | GI Bleed protocol | should be dual energy where technology is available --non contrast should still be scanned, do not include a virtual unenhanced series (VUE)
PEDIATRICS | Revised | all protocols | protocols are weight based with parameters provided in a separate document to aid in protocol building based of GE and Siemens parameters
CARDIAC
CHEST
| Revised | chest | any protocol including chest: chest w/wo, combo CAP, lung cancer screening exams--keep chest thins (0.625) and send to PACS, Lung MIPS 10mm thickness x 5mm spacing
MSK
| Revised | protocol workbook | updated entire workbook with formatting changes, specific reformatting instructions, iMar instructions
NEURO

## updates 7.14.26
CT PROTOCOL UPDATES, 07-14-2026
SECTION | CATEGORY |  | ITEM
BODY | Revised |  | CTV Lower extremity | deleted lower legs on reformats
| Revised | 2026-05-21 | Pancreas studies | timing changed to bolus tracking on arterial series
| Revised | 2026-05-21 | Liver 3 and 4 phase | delay series changed to 4 minutes
| Revised | 2026-05-21 | Dissection protocol | removed all reformats from non-contrast chest series, only need 3mm axials
| Revised | 2026-05-21 | Renal mass | nephrogenic phase delay changed to 100sec, excretory phase changed to 7 min delay
| Revised | 2026-07-22 | All protocols | Thin series should be sent to PACS, was marked as "not sent to PACS" in previous versions
New
Deleted
PEDIATRICS | Revised
| New | 2026-07-16 | Cardia and research studies added
CARDIAC | Deleted
Revised
| New | 2026-07-16 | CT Esophogram added | **new protocol for ED patients on overnights when fluoro is not available
CHEST | Deleted
| Revised | 2026-07-16 | overall format change
New
MSK | Deleted
Revised
New
NEURO | Deleted
| Revised | 2026-07-16 | CT Brain(all studies) | add true axial series, STD window with lines angled parallel to corpus callosum
| Revised | 2026-07-16 | CT Cspine | add true axial series to straighten out spines
| Revised | 2026-07-16 | Parathyroid exam | Right arm preferred for injection, bolus track for arterial phase with tracking in ascending aorta, threshold trigger 100 HU, delay stays at 80sec
| Revised | 2026-07-16 | CTA Cow/Carotid | If DE capability, add 50kev series on CTA Cow/carotidto assist with contrast shortage