## Slide 1
REDUCING OUTPATIENT INFANT SERUM BLOOD DRAWS
WITH TRANSCUTANEOUS MEASUREMENT OF BILIRUBIN
Keira C. Kilmartin MD1, Emily J. McCarty MD1, Catherine D. Shubkin MD1,2, Alison V. Holmes MD, MPH1,2
Bilirubin can be measured by:
1. Visual assessment
2. Transcutaneous bilirubin (TcB)
3. Total serum bilirubin (TsB)
It is unknown if the ease of TcB measurement will increase the number of TsB draws due to the need for verifying TcB >15mg/dL.
METHODS
QUALITY IMPROVEMENT AIM
To reduce blood draws for TsB with a TcB measurement device at newborn follow up visits.
CONCLUSIONS
A quality-improvement initiative to screen for treatable hyperbilirubinemia by transcutaneous bilirubinometry in the outpatient setting reduced the number of blood draws for TsB. The ease of use of transcutaneous bilirubinometry did not have the untoward effect of increasing follow up serum bilirubin measurements.
DISCUSSION
INTRODUCTION
Newborns at Follow Up (n = 911)
>35 weeks GA, born at CHaD
Age 1-20 days
Excluded Infants (n = 8)
Excessive bruising
History of transfusion or phototherapy
Risk of haemolysis ( DAT+ )
Eligible Infants (n = 903)
Targeted Interventions
Workroom poster
Resident conference
Staff conference
Wait time
Blood loss
Painful Procedure
Lab costs
Total Serum Bilirubin
Transcutaneous Bilirubin
Non- invasive
Efficient
Cost-
effective
Reduced serum draws
Data collection
Post-intervention PDSA Cycles
TcB Device
07-2016
01-2018
12-2018
Population
Timeframe
Demographic Data |  | 
 | Pre-Implementation | Post-Implementation
Percent Female (%) | 45.7 | 50.6
Median Birth Weight (g) | 3365 | 3338
Median Gestational Age | 39w0d | 39w0d
Chart: P Chart: Proportion of Eligible Infants with TsB Measurements
| 07-2016 | 08-2016 | 09-2016 | 10-2016 | 11-2016 | 12-2016 | 01-2017 | 02-2017 | 03-2017 | 04-2017 | 05-2017 | 06-2017 | 07-2017 | 08-2017 | 09-2017 | 10-2017 | 11-2017 | 12-2017 | 01-2018 | 02-2018 | 03-2018 | 04-2018 | 05-2018 | 06-2018 | 07-2018 | 08-2018 | 09-2018 | 10-2018 | 11-2018 | 12-2018
P | 0.15556 | 0.12069 | 0.27895 | 0.1375 | 0 | 0.35517 | 0.31111 | 0 | 0.16 | 0.59231 | 0.88462 | 0.13947 | 0.17353 | 0.175 | 0.27273 | 0.64286 | 0.17353 | 0.44231 | 0.45238 | 0.085294 | 0.37826 | 0.085294 | 0.11724 | 0.057143 | 0 | 0.2641 | 0.1093 | 0 | 0 | 0.29615
UCL | 0.4094 | 0.43253 | 0.48566 | 0.45492 | 0.45492 | 0.43253 | 0.4933 | 0.46026 | 0.44991 | 0.54391 | 0.44519 | 0.404 | 0.41528 | 0.45492 | 0.41841 | 0.43652 | 0.41528 | 0.44519 | 0.47205 | 0.41528 | 0.46026 | 0.41528 | 0.43253 | 0.39438 | 0.45492 | 0.40146 | 0.39219 | 0.40146 | 0.4094 | 0.44519
+2 sigma | 0.34189 | 0.35731 | 0.39273 | 0.37224 | 0.37224 | 0.35731 | 0.39782 | 0.3758 | 0.3689 | 0.43156 | 0.36575 | 0.33829 | 0.34581 | 0.37224 | 0.3479 | 0.35997 | 0.34581 | 0.36575 | 0.38366 | 0.34581 | 0.3758 | 0.34581 | 0.35731 | 0.33188 | 0.37224 | 0.3366 | 0.33042 | 0.3366 | 0.34189 | 0.36575
+1 sigma | 0.27438 | 0.28209 | 0.2998 | 0.28956 | 0.28956 | 0.28209 | 0.30235 | 0.29133 | 0.28789 | 0.31922 | 0.28631 | 0.27258 | 0.27634 | 0.28956 | 0.27739 | 0.28342 | 0.27634 | 0.28631 | 0.29526 | 0.27634 | 0.29133 | 0.27634 | 0.28209 | 0.26938 | 0.28956 | 0.27173 | 0.26864 | 0.27173 | 0.27438 | 0.28631
Average | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687 | 0.20687
-1 sigma | 0.13936 | 0.13165 | 0.11394 | 0.12419 | 0.12419 | 0.13165 | 0.1114 | 0.12241 | 0.12586 | 0.094528 | 0.12743 | 0.14116 | 0.13741 | 0.12419 | 0.13636 | 0.13032 | 0.13741 | 0.12743 | 0.11848 | 0.13741 | 0.12241 | 0.13741 | 0.13165 | 0.14437 | 0.12419 | 0.14201 | 0.1451 | 0.14201 | 0.13936 | 0.12743
-2 sigma | 0.071852 | 0.056436 | 0.021017 | 0.041506 | 0.041506 | 0.056436 | 0.015924 | 0.03795 | 0.044847 | 0 | 0.047994 | 0.075453 | 0.067937 | 0.041506 | 0.065848 | 0.053773 | 0.067937 | 0.047994 | 0.030089 | 0.067937 | 0.03795 | 0.067937 | 0.056436 | 0.081868 | 0.041506 | 0.077149 | 0.08333 | 0.077149 | 0.071852 | 0.047994
LCL | 0.0043411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0097429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019365 | 0 | 0.012287 | 0.021558 | 0.012287 | 0.0043411 | 0
Chart: G Chart: Patients Between TsB Measurements
| 42559 | 42574 | 42591 | 42624 | 42625 | 42626 | 42627 | 42631 | 42635 | 42636 | 42638 | 42639 | 42641 | 42682 | 42686 | 42692 | 42739 | 42781 | 42829 | 42834 | 42838 | 42840 | 42850 | 42861 | 42867 | 42878 | 42921 | 42922 | 42930 | 42974 | 42983 | 42984 | 42991 | 42993 | 42994 | 42994 | 42997 | 43020 | 43023 | 43049 | 43056 | 43060 | 43080 | 43101 | 43126 | 43152 | 43164 | 43185 | 43213 | 43248 | 43295 | 43315 | 43316 | 43318 | 43329 | 43338 | 43417 | 43419
Patients Between TsB Measurement | 8 | 3 | 0 | 13 | 17 | 20 | 1 | 0 | 0 | 4 | 1 | 1 | 2 | 0 | 5 | 44 | 2 | 2 | 25 | 36 | 28 | 1 | 2 | 2 | 7 | 6 | 6 | 7 | 58 | 0 | 8 | 36 | 8 | 0 | 6 | 1 | 1 | 0 | 2 | 21 | 3 | 28 | 6 | 5 | 10 | 8 | 28 | 54 | 13 | 16 | 58 | 36 | 44 | 23 | 3 | 2 | 15 | 10 | 97 | 2
UCL | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076 | 57.8076
+2 sigma | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329 | 43.2329
+1 sigma | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581 | 28.6581
Average | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833 | 14.0833
-1 sigma | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
-2 sigma | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LCL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart: Percentage of Eligible Infants with TcB Measurement
| 02-2018 | 03-2018 | 04-2018 | 05-2018 | 06-2018 | 07-2018 | 08-2018 | 09-2018 | 10-2018 | 11-2018 | 12-2018
Proportion of Eligible Infants with TcB Measurement | 11.8 | 13 | 23.5 | 24.1 | 11.9 | 8.3 | 25.6 | 20.9 | 2.6 | 5.6 | 23
Intervention 1
Intervention 2
Intervention 3
FDA Alert
Desired direction of change
Desired direction of change
Post-implementation
Post-implementation
In the 12 months post-implementation, we observed utilization of the TcB device in the general academic pediatric outpatient clinic. There was an accompanying:
Decrease in the proportion of eligible infants obtaining blood draws for serum bilirubin
Increase in patients-between blood draws
Single centre
Single TcB measurement device
Homogenous, primarily Caucasian population
Project Limitations
Larger, diverse population
Longer post-intervention data collection
Stratification of TcB vs TsB based on providers’ expertise with device and level of training
Future Directions
Keira.c.kilmartin@Hitchcock.org
1Department of Pediatrics, Children’s Hospital at Dartmouth-Hitchcock, 2Geisel School of Medicine at Dartmouth
Pediatric Academic Societies Meeting 2019
RESULTS